SPECIFICATION OF THE SUBJECT OF PERFORMANCE

in the framework of the tender procedure entitled

„Putting innovation into practice at Kubíček Factory s.r.o. - Part 1 - Laboratory coating machine“

The contracting authority shall impose special technical conditions on the participants for the subject of the public contract.

The contracting authority defines the characteristics of the requested subject of performance, i.e. the minimum technical parameters that must be met by the offered subject of performance of the suppliers. In the event that a supplier offers a subject of performance that does not meet any of the technical conditions, it will be excluded from the tender procedure for failure to comply with the tender conditions.

The tenderer shall indicate in the technical specifications whether the performance offered by it meets the requirements set out in the columns by ticking the appropriate option in the 'Meets' column, 'Yes' if the performance offered meets this requirement and 'No' if the performance offered does not meet this requirement. If the tenderer indicates 'No' at least once in the technical specifications, he shall be excluded for non-compliance. If a tenderer indicates 'Yes' and the evaluation of tenders reveals that the tendered supply does not meet this requirement, the tenderer may be excluded for non-compliance and breach of the tender specifications. If a tenderer does not fill in either the 'Yes' or the 'No' option, it may be excluded for non-compliance with the tender specifications. The 'Supplier offers' column shall then be filled in using Word forms to indicate the specific value of the parameter (in the same units as the requirement) or a more detailed specification of the performance offered in relation to the requirement. If the tenderer does not fill in the column 'Supplier offers' and ticks the option 'Yes' in the column 'Meets', it shall be deemed that the performance offered by the tenderer corresponds exactly to the requirement of the contracting authority set out in the column 'Specification'. The tenderer shall fill in the technical specifications according to the instructions therein, including the type and type of performance, if any. The completion of these types and kinds of performance shall be binding on the supplier and shall be annexed to the purchase contract, i.e. the supplier shall be obliged to deliver exactly the performance to which it has committed itself in the tender.

The tenderer shall also fill in the trade name or trade designation of the machine offered in the right-hand column in the first row of the table.

| Coating Machine |  |  |  |
| --- | --- | --- | --- |
| Trade name: |  | ……………. (to be filled in by participant) |  |
| Required parameter | Reuired Value | Meets | Supplier offers |
| Operating temperature range [°C] | 20 – 250 | YES / NO |  |
| Temperature setting (sensitivity) [°C] | ± 5 | YES / NO |  |
| Maximum air circulation [Nm3.hr-1] | 900 ± 200 | YES / NO |  |
| Maximum clamping width [mm] | 280 ± 10 | YES / NO |  |
| Spare parts delivery [hrs] | 48 | YES / NO |  |
| Squeegee accuracy [µm] | 1-5 | YES / NO |  |
| Control unit or other type of control unit | 10” touch display | YES / NO |  |
| Adjustable side pattern holders | Yes | YES / NO |  |

I (we), the undersigned, declare that the above information is true and that the Supplier, if selected by the Contracting Authority in the subject tender, will deliver the goods exactly according to the technical and commercial conditions in its tender.

In ……… on       (date)

…………..………………………….

(Name, Surname, Signature and position of the person authorised to act for the supplier)