TECHNICAL LEVEL OF PERFORMANCE

„Putting innovation into practice at Kubíček Factory s.r.o. - part 1 – Laboratory coating machine“

In the column provided for this purpose, the bidder shall fill in whether the offered item meets the required parameters. For each 'YES', i.e. for each parameter fulfilled, the tenderer shall be awarded 1 point and for each 'NO', i.e. for each parameter not fulfilled, the tenderer shall be awarded 0 points. The sum of the points shall then be used to calculate the sub-evaluation criterion 'Technical level of performance'. The method of calculation is described in the tender documentation.

| Coating Machine |  |  |
| --- | --- | --- |
| Trade name of the offered performance: | …………… (to be filled in by participant) |  |
| Required parameter |  | Meets |
| Temperature adjustment (sensitivity) in increments of 2°C or less |  | YES / NO |
| Maximum air circulation is greater than 800 Nm3.hod-1 |  | YES / NO |
| The accuracy of the squeegee is 0,01-0,04 mm |  | YES / NO |
| Infrared pyrometer |  | YES / NO |
| Motor-driven application equipment |  | YES / NO |